## Slide 1: Proton charge radius measurement
CNS International Summer School 2020
Legris Clement
Tohoku University, ELPH (Research Center for Electron Photon Science)

## Slide 2: Proton charge radius puzzle
Electron
scattering
(1950~)
Hydrogen spectroscopy
(1990~)
Muonic hydrogen spectroscopy
（2010）
Trento (2019)
Garching (2017)
Paris (2018)
JLAB
(2019)
(fm)
Notes: Image from Suda-san’s presentation for subvention p4
Add fm

## Slide 3: Determination of the proton charge radius with electron scattering
Electron scattering interaction
T. Suda, CNS 2018, ELPH, Tohoku University
Cross section of the interaction:
Electric form factor:

Rosenbluth separation:
Determination of
Measuring with regards to while keeping constant
Notes: Image1 from Suda-san’s CNS lecture 1 p8
CS image from Suda-san’s CNS lecture 1 p24

## Slide 4: Ultra Low Q² (ULQ2) experiment
Mainz data (2010)
= 180 - 855 MeV
Characteristics of the experiment:
Measurement of for extremely small values of :
0.0003 (GeV/c)² ≤ ≤ 0.008 (GeV/c)²
Lowest beam energy for electron scattering:
20 MeV ≤ ≤ 60 MeV
 Large range of available angles :
30° ≤ ≤ 150°
Absolute cross-section measurement with 0.1% accuracy
Polyethylene (CH2) target
ULQ2 exp.
Momentum transfer range during the experiment
Y. Honda, ELPH, Tohoku University

## Slide 5: Absolute cross-section measurement
Measurement of cross-section of e-X scattering:

Event number
Beam
dose
Target
number (cm¯²)
Detector
solid angle
Well
known
Ratio of H and C
e-H e-C
Target mass
Events
Energy (MeV)
Scattered electron energy of a 60-MeV energy beam on a CH₂ target
Y. Honda, ELPH, Tohoku University

## Slide 6: Spectrometer and detectors
e- beam
Spectrometer and detectors
Y. Honda, ELPH, Tohoku University
Vacuum chamber
& target

## Slide 7: Spectrometer and detectors
x [mm]
y [mm]
Momentum
Scattering angle ()
H
C
~5%
~5%
e- beam
Vacuum chamber
& target
Spectrometer and detectors:
Collimator : -3° ≤ ≤ +3°
Center of momentum
 Imposed by the magnetic field inside the spectrometer
Relation between position and momentum:
, with = (855.0+/-0.5) mm
Ratio of momentum
 Allows to calculate precisely the initial energy of the beam
Momentum dispersion (calculated with Geant 4)
Scattered electron energy on a CH₂ target
Y. Honda, ELPH, Tohoku University
Spectrometer and detectors
Y. Honda, ELPH, Tohoku University

## Slide 8: Spectrometer and detectors
x [mm]
e- beam
y [mm]
Momentum
H
C
Scattered electron energy on a CH₂ target
Y. Honda, ELPH, Tohoku University
Scattering angle ()
Vacuum chamber
& target
Spectrometer and detectors:
2 SSD detectors of ~10cm x 10cm: 512 strips of 190 μm
Momentum resolution (calculated with Geant 4):
~ 6 ×
Smallest distance between two distinguishables peaks :
  ~ 0.54 mm
 Sufficient precision
Spectrometer and detectors
Y. Honda, ELPH, Tohoku University

## Slide 9: Schedule
First test planned for September 2020  beamline study and commissioning of the spectrometer in 2020
First measurement of the proton charge radius in end of 2021
Precise measurement of the proton charge radius in mid. 2022

## Slide 10: Summary
Proton charge radius measurement by electron scattering on a CH2 target
Extremely low momentum-transfer using the lowest beam energy for electron scattering
Spectrometer and detectors allowing us to measure with a good accuracy the elastic cross-section
Precise measurement of the proton charge radius scheduled in mid. 2022
Notes: Image1 from Suda-san’s CNS lecture 1 p8
CS image from Suda-san’s CNS lecture 1 p24

## Slide 11: Backup
Previous measurements of the proton charge radius
Marko Horbatsch, Properties of the Sachs electric form factor of the proton on the basis of recent e − p scattering experiments and hydrogen spectroscopy
Data from Jlab (1.1 GeV & 2.2 GeV)
Data from Mainz
1st order extrapolation with model using muonic hydrogen radius measurement
Notes: Image1 from Suda-san’s CNS lecture 1 p8
CS image from Suda-san’s CNS lecture 1 p24